ESSENTIAL ACRYLIC MAINTENANCE ROOF COATING SYSTEM DETAILS

ESSENTIAL WHITE TOPCOATS

ESSENTIAL BASE

EXISTING MINERALIZED CAPSHEET ROOF

BUR MINERALIZED BITUMEN ESSENTIAL ACRYLIC MAINTENANCE ROOF COATING SYSTEM

NOTES:
1.	VISIT www.energyshieldsystems.com FOR SPECIFIC MANUFACTURER'S APPLICATION SPECIFICATIONS

ACRYLIC COATING SYSTEM

SEAL:

REV:

JOB NUMBER:

SCALE:

DATE:
11-18-19
DRAWN BY:
BAB
CHECKED BY:
ACI
SHEET:
AS-01

ESSENTIAL WHITE TOPCOATS

ESSENTIAL BASE

ACRYLIC COATING SYSTEM

EXISTING BRAI TORCHDOWN ROOF

BRAI TORCHDOWN ESSENTIAL ACRYLIC MAINTENANCE ROOF COATING SYSTEM

NOTES:
1.	VISIT www.energyshieldsystems.com FOR SPECIFIC MANUFACTURER'S APPLICATION SPECIFICATIONS

SEAL:

REV:

JOB NUMBER:

SCALE:

DATE:
11-18-19
DRAWN BY:
BAB
CHECKED BY:
ACI
SHEET:
AS-02

ESSENTIAL WHITE TOPCOATS

ACRYLIC COATING SYSTEM

ESSENTIAL PRIMER

EXISTING TPO ROOF

TPO ESSENTIAL ACRYLIC MAINTENANCE ROOF
COATING SYSTEM

NOTES:
1.	VISIT www.energyshieldsystems.com FOR SPECIFIC MANUFACTURER'S APPLICATION SPECIFICATIONS

SEAL:

REV:

JOB NUMBER:

SCALE:

DATE:
11-18-19
DRAWN BY:
BAB
CHECKED BY:
ACI
SHEET:
AS-03

DAMAGED VERTICAL & HORIZONTAL FIELD SEAMS & LIFTING SEAMS WITH LARGE GAPS ARE TO BE REINFORCED BY 3-COURSING WITH ESSENTIAL MASTIC & ESSENTIAL FABRIC

1.	APPLY ESSENTIAL PRIMER or ESSENTIAL BASE AS PRIMER
2.	APPLY ESSENTIAL WHITE TOP COATS

ACRYLIC COATING SYSTEM

EXISTING METAL ROOF

METAL ESSENTIAL ACRYLIC MAINTENANCE ROOF
COATING SYSTEM

NOTES:
1.	VISIT www.energyshieldsystems.com FOR SPECIFIC MANUFACTURER'S APPLICATION SPECIFICATIONS

SEAL:

REV:

JOB NUMBER:

SCALE:

DATE:
11-18-19
DRAWN BY:
BAB
CHECKED BY:
ACI
SHEET:
AS-04

ESSENTIAL WHITE
TOPCOATS

ESSENTIAL PRIMER

ESSENTIAL ROOF CLEANER EXISTING EPDM ROOF

EPDM ESSENTIAL ACRYLIC MAINTENANCE ROOF
COATING SYSTEM

NOTES:
1.	VISIT www.energyshieldsystems.com FOR SPECIFIC MANUFACTURER'S APPLICATION SPECIFICATIONS

ACRYLIC COATING SYSTEM

SEAL:

REV:

JOB NUMBER:

SCALE:

DATE:
11-18-19
DRAWN BY:
BAB
CHECKED BY:
ACI
SHEET:
AS-05

ESSENTIAL WHITE TOPCOATS

ESSENTIAL PRIMER

ACRYLIC COATING SYSTEM

EXISTING FOAM ROOF

SEAL:

FOAM ESSENTIAL ACRYLIC MAINTENANCE ROOF
COATING SYSTEM

NOTES:
1.	VISIT www.energyshieldsystems.com FOR SPECIFIC MANUFACTURER'S APPLICATION SPECIFICATIONS

REV:

JOB NUMBER:

SCALE:

DATE:
11-18-19
DRAWN BY:
BAB
CHECKED BY:
ACI
SHEET:
AS-06

ESSENTIAL WHITE TOPCOATS

ESSENTIAL BASE

EXISTING CONCRETE ROOF

ACRYLIC COATING SYSTEM

SEAL:

CONCRETE ESSENTIAL ACRYLIC MAINTENANCE ROOF COATING SYSTEM

NOTES:
1.	VISIT www.energyshieldsystems.com FOR SPECIFIC MANUFACTURER'S APPLICATION SPECIFICATIONS

REV:

JOB NUMBER:

SCALE:

DATE:
11-18-19
DRAWN BY:
BAB
CHECKED BY:
ACI
SHEET:
AS-07

ESSENTIAL WHITE TOPCOATS

ESSENTIAL BASE

EXISTING ACRYLIC ROOF SURFACE

RE-COAT EXISTING ACRYLIC SURFACE ESSENTIAL ACRYLIC MAINTENANCE ROOF
COATING SYSTEM

NOTES:
1.	VISIT www.energyshieldsystems.com FOR SPECIFIC MANUFACTURER'S APPLICATION SPECIFICATIONS

ACRYLIC COATING SYSTEM

SEAL:

REV:

JOB NUMBER:

SCALE:

DATE:
11-18-19
DRAWN BY:
BAB
CHECKED BY:
ACI
SHEET:
AS-08